- Tap water is safe for bathing, showering, brushing teeth, washing dishes and clothes even if homes have lead service pipes.

- Water other than from direct mains supply (usually kitchen cold water tap) should never be used for drinking or cooking.

You can use the water from the kitchen tap as usual.

If you have any lead pipework between the stop valve outside your home and your kitchen tap, the best solution is to replace it with copper or plastic pipework.

Other Useful Hints:

Whether or not there is lead plumbing in your home:

- For drinking and cooking, always use the water from the cold water tap into kitchen.

- Avoid drinking water from bathroom taps.

Testing your Water Supply:

If you have concerns and wish to have your water supply tested for the presence of Lead, Leitrim County Council can provide you with the contact details of accrediated laboratories.

In addition Leitrim County Council carries out an ongoing programme of testing on public water supplies, which includes monitoring for the presence of Lead.

Where can I get Further Information and Advice?

- Contact Water Services at Leitrim County Council

Leitrim County Council

County Buildings

Ck-on-Shannon.

Co. Leitrim.

Tel:	071 9620005

Web:	www.leitrimcoco.ie

Email:	corporateservices@leitrimcoco.ie

- The Health Service Executive (HSE) – Environmental Health Officer

- From a Qualified Plumber.

Leitrim County Council

Information Leaflet

November 2008

# Introduction

Lead is commonly found in this environment. It comes from a variety of sources including vehicle exhausts and old paint work and may be present in air, food, soil or water. Lead can build up in the body and it can be harmful, especially to young children and pregnant women.  It is sensible to avoid excessive exposure from any source.

Up to early 1970’s, lead was commonly used for water pipes. Part or all of the service pipe connecting the water main in the street to the kitchen tap may be made of lead. For this reason, the amount of lead in drinking water can sometimes be above the standard. From the 1970’s lead was not normally used in the laying of service pipes.

It is important to emphasise that water in the public supply network does not contain lead when it leaves the water treatment plant.

It is standard operational practice for Leitrim County Council’s Water Services staff to replace lead piping with PVC piping when laying new watermains in the public water supply network.

Current Drinking Water Regulations limit the lead concentration to 25ug/litre which is 25 parts per billion. This figure was previously set at 50 ug/litre until January 2004 and is to be reduced to 10ug/litre in 2013.

How do I know if there are lead pipes in my Home.

If your home has been built or modernised since the early 1970’s, or the pipework replaced from the stop valve outside your home to the kitchen tap, there should be no lead pipe on your property.

If you are unsure, you can make a simple check:

Inside Your Home:

Look in or behind the cupboards in your kitchen. You may also need to look in other places, eg: the cupboard under the stairs. Find the pipe leading to the kitchen tap. Check if it is lead along as much of its length as possible. Unpainted lead pipes are dull grey. They are also soft. If you scrape the surface gently with a knife, you will see the shiny, silver-coloured metal beneath.

Outside Your Home

Open the flap or the stop valve outside your property. Examine the pipe leading from the stop valve to the property, and follow the procedure as outlined above.

Other pipe materials in common use are:

- Copper – bright, hard and dull brown

- Iron – dark, very hard and may be rusty

- Plastic – may be grey, black or blue

Who is responsible for the Pipework?

The part of the service pipe leading from the stop valve outside your property to the kitchen tap point is your responsibility or your landlord’s.

The part of the service pipe which links the water main in the street to the stop valve outside your property is the responsibility of Leitrim County Council. The Council have replaced the vast majority of lead services with PVC mains over the years.

What can I do to Reduce lead Levels:

If you have concerns regarding possible lead levels in your drinking water, take the following short-term precautions:

Do NOT drink water that has been standing in the pipes for long periods, for example, overnight.

- The cold water Kitchen tap should be run to fill a water basin, particularly first thing in the morning or if the water has been unused in the pipe for a period of 6 hours or more. This need not be wasted but can be used on the garden or for something other than drinking or cooking. If the length of lead pipes exceeds 40 metres, additional water may be need to be drawn off. The Tap water can then be used for drinking.